HOT WORK PERMIT

Relating to any work involving temperature conditions which are likely to be of sufficient intensity to cause ignition of combustible gases, vapours or liquids in or adjacent to the area involved.

# General

This permit is valid From……………………………Hrs      Date…………….…………….……………………………

To    ……………………………Hrs       Date……………………………………….………………

Location of work …………………….…………….…………………………………………………………………….. …………….…………….………………………………………………………………………………………………...

Personnel carrying out work ………………………………………………………………………………………………

……………………………………………………………………………………………………………………………..

Responsible person in attendance …………………………………………………………………………………………

# Section 1

1.1 Has the work area been checked with a combustible gas indicator for hydrocarbon vapours?          Yes/No

Time…………………..

1.2 Has the surrounding area been made safe?                                                                                           Yes/No

Time…………………..

## Section 2

2.1 Has the work area been checked with a combustible gas indicator for hydrocarbon vapours?             Yes/No

2.2 Has the equipment or pipeline been purged?                                                                                         Yes/No

2.3 Has the equipment or pipeline been blanked?                                                                                         Yes/No

2.4 Is this equipment or pipeline free of liquid?                                                                                            Yes/No

2.5 Is the surrounding area safe?                                                                                                                    Yes/No

2.6 Is additional fire protection available?                                                                                                      Yes/No

2.7 Is the equipment isolated electrically?                                                                                                       Yes/No

2.8 Special conditions/precautions …………….…………….…………….…………….…………….……………. ….

…………….…………….…………….…………….…………….…………….…………….…………….…………….

…………….…………….…………….…………….…………….…………….…………….…………….………………………………………………………………………………………………………………………………………….

In the circumstances noted it is considered safe to proceed with this work.

Signed

………..……..……..……..……..……..……..……..……..……..……..…….     Master / Responsible Officer

………………………………………………………………………………..    Person in charge of work team